## Slide 1
Machine Learning
To detect the anomalies in Steam Turbine Vibration

## Slide 2
Classification and Linear regression
Accuracy = 0.3924
Type 2
Type 4
Accuracy = -1.3030
Accuracy = 0.5534
Type 3
Type 5
Type 6
Type 7
Accuracy = 0.5585
Accuracy = 0.4513
Accuracy = 0.4607
Train set: Jan 2021 – Dec 2022
Test set: Jan 2023 – June 2023
Load Type Classification
Type 2: 10 – 15 MW
Type 3: 15 - 20 MW
Type 4: 20- 25 MW
Type 5: 25 - 30 MW
Type 6: 30 - 35 MW
Type 7:> 35 MW
linear regression contributes coefficients of each sensors

## Slide 3
Helth Check: Anomaly Score and Centralize Differ Score
Train set: Jan 2021 – Dec 2022
Test set: Jan 2023 – June 2023
calculate health score to check an outlier score of each sensors in equipment and anomalies

## Slide 4
KNN Model
Train set: Jan 2021 – Dec 2022
Test set: Jan 2023 – June 2023
Load Type
Type 2: 10 – 15 MW
Type 3: 15 - 20 MW
Type 4: 20- 25 MW
Type 5: 25 - 30 MW
Type 6: 30 - 35 MW
Type 7:> 35 MW
Outage/Maintenance
Outage/Maintenance